■ Features
￭No ultraviolet or infrared radiation
￭Low power consumption, Long Life           
￭Pure color, pollution-free, one-piece Lens,

high transmittance, not easy atomization

￭Comply with IEC-61000-3-2:2018 specification (European ERP)

￭Non Flicker

￭IP65

■Application
Landscape architecture,Exterior Wall, Streets,Hotel, The mall,Advertising, etc.

SPECIFICATION

| MODEL | LDS-8W |
| --- | --- |
| Max. Output Power | 8W |
| Voltage Range | 220-240VAC 50/60Hz 0.06A PF:≥0.7 |
| LEDs | 28PCS |
| Model (series) LED | 2835 18V 0.5W RA≥80 |
| Angle of light flux of LED | 2 θ 1/2=120° |
| Dominant Wavelength (nm/K) | WW 2800K-3200K |
| Luminous flux | ≥900LM |
| Operating temperature | -20 ~ +50℃ |
| Storage Condition | -40 ~ +80℃, 10 ~ 95% RH |
| Dimension LxBxH, мм | 85*85*13mm |
| Package | 35g per unit, 100pcs per carton |
|  | 3.5KG N.W, 46KG G.W Carton Size: 33x33x56CM |
| All parameters NOT specially mentioned are measured at 12Vdc input, rated load and 25℃ of ambient temperature. |